## Sheet1
ID | Condition | Yes_Next_ID | No_Next_ID | Action
1 | Is the controller in Automatic Local mode with the proper setpoint? | 2 | 1 | Place the controller in Automatic mode with the proper setpoint.
2 | Is the primary controller in Auto mode? | 3 | 2 | Place the primary controller in Auto mode.
3 | Is the final controller in Cascade mode? | 4 | 3 | Place the final controller in Cascade mode.
4 | Is there an oscillating variation between the process variable and...? | 5 | 6
5 | Does the control valve respond to controller output changes? | 6 | 5 | Have an instrumentation technician inspect and repair the valve.
6 | Is the control valve operating within a controlling range of 20-80%? | 6 | 6 | Consult with supervisor and consider either operating the valve in Manual mode for low turndown rates.